## Doses
Graphing of Dose vs CT Parameters
1 | Before attempting the SIX tasks below, reset the CT Simulator Scan parameters to the following settings :
110 kVP, 250 mAs, Kernal B40, Slice 3mm, Detector Size 0.6mm, Measurements on
2 | Then vary only the parameter under focus to see the effect on the scan CTDIvol and DLP doses.
Task 1 | kVp | CTDIvol (mGy) | CTDIvol (linear trend) | DLP (mGy.cm) | DLP (linear trend)
Vary the | 80 | 7.35 | 7.35 | 2.205 | 2.205
| 90 |  | 10.2521 |  | 3.0756
| 100 |  | 13.1541 |  | 3.9462
kVp | 110 | 19.525 | 16.0562 | 5.8575 | 4.8168
| 120 |  | 18.9582 |  | 5.6875
| 130 | 28.975 | 21.8603 | 8.6925 | 6.5581
| Exponent | 2.8253
| kVp | CTDIvol (mGy) | DLP (mGy.cm)
| 80 | 7.35 | 2.205
| 90 | 10.2521 | 3.0756
| 100 | 13.8068 | 4.142
| 110 | 18.0734 | 5.422
| 120 | 23.1103 | 6.9331
| 130 | 28.9748 | 8.6924
kVp